## Planning Measures - UNFUNDED
As of July 21, 2015 RTF Meeting
Research Strategy | Brief Description of Research and Impact on Reliability of RTF Measure | Organization Already Researching? | What is the scope of existing research? | Priority for Organization's Portfolio | Potential Interest in Future Funding? | Comments about priority or interest? | Measures Impacted | Est. Reg. Potential of Measure | Sunset Date | Potential Funders | Already Researching | Existing Research | Program Interest | Interest in Funding
Commissioning Controls and Sizing | The RTF's understanding of commissioning controls and sizing practices is out of date. This study is to better understand both the baseline installation practices of heat pumps, as well as the savings from the commissioning, controls, and sizing measure. The resulting savings estimate is critical to inform the CC&S measures. The data on the baseline is critical to inform the other related measures. | [5 empty] | Commissioning Controls and Sizing MH | 47 aMW | 2016-03-31 |  | No Existing Research | n/a | High | High - Would go alone
[7 empty] | Commissioning Controls and Sizing SF |  | 2016-03-31 |  | Research Planned | Some elements | Medium | Medium - Would coordinate with others
[7 empty] | Air Source Heat Pump Conversions SF | 100 aMW | 2019-12-30 |  | Research Underway | All elements | Low | Low
[7 empty] | Air Source Heat Pump Upgrades SF |  | 2019-12-30 |  |  |  | No Interest | No interest
[7 empty] | New Construction Montana House 2 - ASHPs |  | 2018-04-30
[7 empty] | Weatherization - SF (Heat Pump Homes) | ~ 14aMW | 2019-09-30
[7 empty] | Weatherization - MH (Heat Pump Homes) |  | 2016-05-31
DHP for FAF | Research seeks to better understand performance under varying conditions (controls strategy, outside air temperature, house heat loss rate, or other factors), as well as to understand the impact on supplemental fuel usage on energy savings. | [5 empty] | Ductless Heat Pump for FAF (SF and MH) | 158 aMW | 2015-03-17
Smart Plug Power Strips | The current savings estimate is based on only a handful of studies resulting in a current savings estimate with precision of +/- 25%. The goal of this research is to study more office suites to improve the reliability of the savings estimate. | [5 empty] | Commercial Smart Plug Power Strips | 45 aMW | 2018-03-31
Non-Res Lighting Provisional Research Plan** | This research looks at a couple questions to inform the standard protocol. 1) What are the hours of use in commercial spaces and 2) What is the control savings fraction for different controls in different space types? The ultimate goal is to prove out the use of a simplified calculator plus interview guide to determine savings. | [5 empty] | Non-Residential Lighting Retrofits Standard Protocol | 430 aMW | 2015-12-30
VRD for Irrigation Pump Motor Research Plan** | This research uses data from program projects to improve the reliability of the protocol. The research plan assumes that it will use data from a census of all projects for which the protocol is used. | [5 empty] | Variable Frequency Drives - Irrigation Pump Motor Standard Protocol |  | 2016-04-30
Thermostatic Shower Restriction Valves | There is significant uncertainty around several parameters of the existing estiamtes. This research aims to improve the reliability around a few key parameters: duration of behavioral waste, percentage of shower vs tub starts, and removal rate. The research also aims to better inform the different measure identifiers for application. | [5 empty] | Residential Thermostatic Shower Restriction Valve | ~ 20 aMW | 2015-07-31
Heat Pump Water Heaters | The likely range of the HVAC interaction factor (50 to 100%) causes the savings estimate to vary by +/- 20%. The goal of this study is to tighten the range and resulting savings estimate. Additionally, the Research Strategy is seeking a sustainable approach for calibrating new models to field data. | [5 empty] | Heat Pump Water Heaters | 300 aMW | 2015-12-31 | NEEA
Clothes Dryers | Research strategy tests several parameters including reliability of performance metric, baseline performance, and HVAC interactions | [5 empty] | Clothes Dryers (SF, MH, and MF in-unit) | 54 aMW | 2018-04-30 | NEEA
Heat Pump Calibration Curve (not yet written) | The research strategy is not yet written. | [5 empty] | Weatherization - MH (Heat Pump Homes) | <5 aMW | 2016-05-31
[7 empty] | Air Source Heat Pump Conversions MH |  | 2015-11-30
[7 empty] | Air Source Heat Pump Upgrades (MH) |  | 2015-11-30
Prescriptive Duct Sealing | This research strategy is not yet written. The RTF is considering this measure in August 2015. | [5 empty] | Prescriptive Duct Sealing SF and MH | 31 aMW | 2015-12-31
Performance Based Duct Sealing (not yet written) | This research strategy is not yet written. The RTF is considering this measure in the latter half of 2015 | [5 empty] | Performance Based Duct Sealing SF |  | 2015-12-30
[7 empty] | Performance Based Duct Sealing MH |  | 2015-11-30
Advanced Power Strips | This research strategy is not yet written. | [5 empty] | Residential Advanced Power Strips | 260 aMW | 2015-08-31
** This document is a detailed Research Plan. Before the RTF adopted the research strategy approach in March 2015, it developed research plans for non-proven measures.
Note on A2: Jennifer Anziano: The Research Strategy outlines the research objectives and a potential data collection and analysis path. Please review before completing survey.
Note on I2: Jennifer Anziano: The majority of these estimates are based on the draft Seventh Plan supply curves.

## Provisional Measures - FUNDED
RTF Research Plan | Regional Research Leveraged | Measure(s) Impacted | Sunset Date | Est. Research Completion Date
RTF Plan to Use Bonneville Resarch | Bonneville SIS Study | Scientific Irrigation Scheduling | 2016-01-31 | 2017-12-01