## Slide 1: GENESYS Redevelopment
GENESYS Redevelopment Stakeholder Meeting
August 26th, 2016
Notes: Prepare yourself for high level to more detailed conversation about topics . McCoy says suspend your disbelief.

## Slide 2: Goals of Redevelopment
Serve Needs of Multiple Users and Uses
Currently used by the Council, BPA and other regional stakeholders.
Used for annual regional adequacy assessments, regulated hydro flow studies, and analysis of change in revenue due to differing hydro operations.
Maintain all necessary current functionality.
Answer new questions that previous model could not answer.
Notes: Needs to be discussed out explicitly
1) Prevent leaving important functionality behind.
2) Challenging because different users use the model to support a variety of analytics.
Multiple Users – Currently used by the Council, BPA and other regional stakeholders.
Multiple Uses – Used for annual regional adequacy assessments, regulated hydro flow studies, and analysis of lost revenue due to hydro dispatch change.

## Slide 3: Goals of Redevelopment
Improve Model Accuracy
Co-optimize energy and reserve requirements by cost.
Better reflect forecast error and market economic effects on regional portfolio dispatch.
Incorporate future value of resources with storage into scheduling.
Incorporate emergency resources into dispatch.
Move from aggregate hydro to plant specific hourly dispatch.
Notes: Cannot study adequacy without consideration of economics in our region.
Time-dependent nature of the hourly hydro capability – model cascading of multiple dams as part of the system dispatch
Interaction between assignment of reserves and system capacity – incorporate reserves into an optimized dispatch
Trade-off between decisions for economics and adequacy – improved market representation
Representation of limitations on operators in dispatching the system – add fuel accounting and forecast error

## Slide 4: Goals of Redevelopment
Improve Model Usability
Currently, model inputs, execution and output processing all are via FORTRAN.
Potentially keep FORTRAN for execution of code and structure, but incorporate an easier input and output processing interface.
Notes: Model support is currently by FORTRAN experts.
Input and output data management is challenging.

## Slide 5: Review: What Does the Model Do Now?
Performs hourly simulation of regional hydro and thermal resource generation under varying stochastic inputs:
  Temperature variation (load)
  Wind generation
  Water supply
  Thermal forced outages.
Incorporates all non-power hydro constraints, models bulk transmission transfer capability, and has a limited external market supply.
Notes: The dispatch of resources is actually accomplished using resource stacking instead of evaluating each resource against a set electricity market price.

## Slide 6: Periodic Hydro Block Evaluation
Water behind the dam
Notes: HydSim is run four times to create these 5 Hydro blocks based on the rule curves for each modified streamflow condition.
This chart illustrates the use of rule curves to guide the operation of the hydroelectric projects more graphically.
For any given month, the rule curve elevations can be “painted” onto the dam itself. The water behind the dam can then be separated into volumes or “blocks.”
Water above the flood control curve is very cheap because it would have to be evacuated even in the absence of a market for that electricity.
Water below the critical rule curve is very, very expensive and can only be used in emergency situations and only for a short time. The water must then be replaced as soon as possible.
Water in the intermediate blocks becomes more valuable the deeper the project is drafted.
Each month, every dam is drafted to its refill curve and the corresponding generation is calculated.
If more generation from the hydroelectric system is desired, every dam is further drafted to its actual energy regulation curve. If this is still insufficient then all projects are again further drafted to their respective critical rule curves.
To “zero in” on the desired amount of hydroelectric energy, the system is drafted “proportionally” between rule curves.

## Slide 7
User provided hourly loads
For each month
Monthly Hydro Simulation

## Slide 8: Functional Simulation Flow
For each window
For each Period
Available hourly hydro energy from shaping the daily energy into the hourly shapes constrained by the peak vs. energy curves
Hourly hydro is dispatched dynamically with thermal resources
Get hydro block sizes
Build resource stack
Build load stack
Hydro and thermal energy for month
For each hour
Window hydro-thermal energy = period load times (historical average window load/period load)
For each day
Daily hydro-thermal energy = window load times (daily load/window load)
If deficit, allow purchase-ahead for the month
If deficit, allow purchase-ahead for the window
If deficit, allow purchase-ahead for the day
If deficit, can use remaining market and then borrowed hydro.
Notes: Period: For a particular hydro, load and wind sample the simulation starts. Forced outages are simulated in the hourly step.
Load here is actually load net wind net long term obligations.

## Slide 9: Dispatch Using Resource Stacking
GENESYS builds a resource stack of available resources
EE and wind generation subtracted from load
Cheapest resources on the bottom
Hydro is broken into blocks with different prices
GENESYS will dispatch enough resources, starting with the cheapest, until all load is met

## Slide 10: How Does Current GENESYS Simulate Hourly?
October
Week 1
Sunday
...
Week 2
Period
Window
Daily
Hourly
1
...
24
Week 4
Week 3
2
23
Saturday
Emergency Resources
Chart: 
Wind | 1658
Nuclear | 1000
Hydro | 6397
Gas CCCT | 4629
Coal Centralia | 380
Gas GT More Efficient | 454
Coal More efficient | 1851
Gas GT Less efficient | 683
Coal Less efficient | 1942
Mixed Low efficiency | 3326
Market | 3000
Borrowed Hydro | 1000
Notes: This is an example for October.

## Slide 11: Changes to Model Flow
Change Window, Daily and Hourly simulation stages to Day-Ahead and Hour-Ahead Unit Commitment that optimize on cost over a rolling week and day window respectively.
Add in a Deployment Stage
Notes: Slight structure change...
The stages are changed to better reflect the forecast error inherent when scheduling units and accounting for fuel.
(2) Resource stacking is difficult when solving for best usage of energy and reserves.

## Slide 12: Day-Ahead Unit Commitment
Optimize regional portfolio operation hourly over 7 day rolling window.
Commit CCCT, coal and nuclear for day 1 and plan for resource production for following 6 days.
Plan for the generation and provision of reserves among all other units and conduct day-ahead market purchases/sales
Use day-ahead forecasts for load, wind, solar
Notes: Rolling window is meant to emulate trader’s look ahead during preschedule
Day-ahead unit commitment more about plant’s needing more notice on fuel usage committed in day-ahead: coal and nuclear only in to respond more quickly to a forced outage in a previous day. Broadly this is about nominating gas and making purchases and sales on the market. This distinction can be changed.

## Slide 13: Hour-Ahead Unit Commitment
Optimize regional portfolio operation over 24 hour rolling window.
Commit SCCT for hour 1 and plan for unit production for following 24 hours.
Plan for the generation and provision of reserves among all other units and conduct hour-ahead market purchases/sales
Use hour-ahead forecasts for load, wind, solar
Notes: Rolling 24 hour window is meant to emulate trader’s look ahead during real-time trading
(2) Hour-ahead unit commitment to represent some Simple cycle units access to more immediate fuel sources like storage, could just as easily be in day-ahead.
(3) This stage about hour-ahead purchases and adjusting to forecast error from day-ahead

## Slide 14: Deployment Stage
Dispatch plants based on schedule and simulate actual reserve provision.
Simulate forced outages and portfolio response.
Simulated load, wind, and solar without forecast error.
Account for fuel usage of all resources.
Notes: This is about representing more forecast error:
Difference between what is scheduled and what actually happens
(2) Fuel accounting on fuel constrained plants: gas and hydro
(3) Incorporates response to forced outages.

## Slide 15: How Does Redeveloped GENESYS Simulate Hourly?
October
Commit for Monday, Plan for Tuesday through Sunday
Account for energy, reserves, forced outage mitigation, and for fuel usage in Hour 1
Commit for Hour 2, Plan for Hours 2 through 24 and Hour 1 of next day.
Commit for Tuesday, Wednesday through Sunday.
Period Forecast
Day-Ahead Commitment
Hour-Ahead Commitment
Deployment
...
Commit for Hour 24, Plan for Hours 1 through 23 of next day
Commit for Hour 1, Plan for Hours 2 through 24
Account for energy, reserves, forced outage mitigation, and for fuel usage in Hour 2.
…
Account for energy, reserves, forced outage mitigation, and for fuel usage in Hour 24.
Commit for Monday, Plan for Tuesday through Sunday
Commit for Hour 1, Plan for Hours 2 through 24
Account for energy, reserves, forced outage mitigation, and for fuel usage in Hour 1
Commit for Hour 2, Plan for Hours 2 through 24 and Hour 1 of next day.
Account for energy, reserves, forced outage mitigation, and for fuel usage in Hour 2.
Account for energy, reserves, forced outage mitigation, and for fuel usage in Hour 24.
Commit for Hour 24, Plan for Hours 1 through 23 of next day
Commit for Tuesday, Wednesday through Sunday.
Accounting
Resource Stacking
Cost Optimization
Notes: This is an example for October.

## Slide 16: New Features
Explicit unit commitment (day-ahead and hour-ahead) and fuel accounting for all relevant resources.
Co-optimization of energy and reserves over all resources in the system.
Forecast error associated with wind, hydro, solar and load in an operational timeframe.
Demand response, storage, and “emergency resources” modeled within optimization
Future value of hydro and resources with longer term fuel implications.
Full hydro system modeling on an hourly basis.

## Slide 17: Other New Features of Interest
Model structure will allow other topics of stakeholder interest such as:
Uncertainty on transmission capability
Market provision of reserves
Granular market supply and demand
Capability to model storage resources
Emissions tracking

## Slide 18: Unit Commitment and Fuel Accounting
All unit commitment will respect minimum up and down times of the plant and ramping capabilities.
Natural gas CCCT, coal and nuclear will be committed in the day-ahead commitment stage
Simple cycle gas units will be committed in hour-ahead commitment stage
Fuel scheduling will constrain unit capabilities and the deployment stage will account for fuel usage.
Notes: Talk about storage fundamentally changing plant usage.
Fuel limitations (i.e. lack of storage) is sometimes the binding constraint on the system, and less “economic” plants must be dispatched.

## Slide 19: Example
Consider an 100 MW generator for one hour during the evening load ramp.
Follow the capacity reservation and fuel accounting through the day-ahead, hour-ahead and deployment stages.
Discuss differences between scheduled energy and nominated/planned fuel.
Notes: This is the proposed general structure for hydro and thermal generators in the redeveloped GENESYS.
Must-run resources are different.
All units will have the capability of being modeled like this, but not all will be allowed to provide for all system requirements (ramping requirements, hydro licensing, etc).

## Slide 20: Capacity Reservation Plan: Day-Ahead Commitment Stage
Non – Spin Reserve (5 MW)
Following Down (15 MW)
Minimum Gen Req. (10 MW)
Discretionary Range Available for Energy Production (70 MW)
Energy Plan (95 MWh)
Need enough fuel for 100 MWh if I have to dispatch my reserves at beginning of hour...
But might not need more than 80 MWh of fuel if I do not have to dispatch my reserves...

## Slide 21: Day-Ahead Forecast Error
Planner scheduled based on day-ahead load, wind and solar forecasts.
In the hour-ahead time frame, those forecasts are revised.
In this example, the wind forecast hour-ahead indicates more wind shows up than was planned for in day-ahead.

## Slide 22: Capacity Reservation: Hour-Ahead Commitment Stage
Non – Spin Reserve (5 MW)
Spinning Reserve (5 MW)
Regulation Up (5 MW)
Following Up (5 MW)
Following Down (5 MW)
Regulation Down (10 MW)
Minimum Gen Req. (10 MW)
Discretionary Range Available for Energy Production (55 MW)
Energy Schedule (80 MWh)
Need enough fuel for 100 MWh if I have to dispatch my reserves at beginning of hour...
But might not need more than 65 MWh of fuel if I do not have to dispatch my reserves...

## Slide 23: Hour-Ahead Forecast Error
Trader changed or maintained schedule based on new hour-ahead load, wind and solar forecasts.
In deployment, any additional forecast error (due to load, wind, solar uncertainty OR forced outages) is met by balancing reserves or unused online capacity.
In this example, the load and wind forecast error from hour ahead is covered by allotted reserves, AND the unit does not need to respond to forced outages.

## Slide 24: In the Within Hour Deployment the resource is dispatched…
Non – Spin Reserve (5 MW)
Spinning Reserve (5 MW)
Regulation Up (5 MW)
Following Up (5 MW)
Following Down (5 MW)
Regulation Down (10 MW)
Minimum Gen Req. (10 MW)
Discretionary Energy Production (55 MW)
]
2 MWh
4 MWh
3 MWh
1 MWh
55 MWh
10 MWh
Non – Spin Reserve (5 MW)
Spinning Reserve (5 MW)
Regulation Up (5 MW)
Following Up (5 MW)
Following Down (5 MW)
Regulation Down (10 MW)
Minimum Gen Req. (10 MW)
Discretionary Energy Production (55 MW)
75 MWh

## Slide 25: After Deployment Fuel Accounting Summary
Day-ahead Stage: The fuel required to produce 95 MWh was the plan.
Hour-Ahead Stage: The fuel required to produce 80 MWh was the plan.
Within-Hour Deployment: 75 MWh was deployed, with associated fuel usage.

## Slide 26: Co-optimize Energy and Reserve Assignment on Cost
Energy and reserves are represented as system requirements.
All system requirements must be met in the optimization stages.
Plants hold out for reserves by allowing for the potential fuel requirements and reserving the capacity required to meet the reserves.
Fuel usage allotted to reserves will be simulated in the deployment stage for fuel accounting purposes.

## Slide 27: Forecast Error
The model will not be given perfect foresight between stages.
Forecast error for wind, solar and load will be simulated by creating day-ahead and hour-ahead forecasts and deployment “actuals”

## Slide 28: Emergency Resources
All emergency resources will be part of the planning process and usage will inform the optimization.
Most emergency resources will likely be given high prices and will still functionally be used only in situations of great need.
Interactive effects can be explored.
  Interaction of hydro system with demand response

## Slide 29: Future Value of Hydro and Other Resources
The future value of hydro is a signal to the model to keep it from maximizing hydro generation during the optimization window (i.e. unwisely “emptying out the system”).
Netting that value from the cost objective function helps account for longer term value of the water in the reservoirs.
Demand response, gas and energy storage could require similar considerations.

## Slide 30
Chart: Valuing Hydro With Storage
| Final Storage
Immediate Operating Cost Inside Optimization Window | 0.10526 | 0.11111 | 0.11765 | 0.125 | 0.13333 | 0.14286 | 0.15385 | 0.16667 | 0.18182 | 0.2 | 0.22222 | 0.25 | 0.28571 | 0.33333 | 0.4 | 0.5 | 0.66667 | 1 | 2
Future Operating Cost Outside Optimization Window, But Before Target | 2.05 | 1.05 | 0.71667 | 0.55 | 0.45 | 0.38333 | 0.33571 | 0.3 | 0.27222 | 0.25 | 0.23182 | 0.21667 | 0.20385 | 0.19286 | 0.18333 | 0.175 | 0.16765 | 0.16111 | 0.15526
Total Cost | 2.1553 | 1.1611 | 0.83431 | 0.675 | 0.58333 | 0.52619 | 0.48956 | 0.46667 | 0.45404 | 0.45 | 0.45404 | 0.46667 | 0.48956 | 0.52619 | 0.58333 | 0.675 | 0.83431 | 1.1611 | 2.1553
Minimized Cost
Even though it might be cheaper in the short run use all my hydro now, I expect not having the hydro available will result in higher future costs...
I will use some hydro to mitigate costs this week, but save some for next week.
Notes: In contrast with market, which has a price, hydro plants have an indirect opportunity cost, associated to savings in displaced market purchases/thermal production now or in the future.
Immediate costs go up when turbined flow goes down and final storage target goes up in the immediate timeframe, since less water is used and more thermal and market purchases must be used to meet system requirements.
The Future Cost Function is calculated by simulating system operation in the future for different starting values of initial storage and calculating the operating costs.
Future costs go up when outflow in the immediate timeframe goes up and final storage goes down. since there is less stored water for the future, more of the expected system requirements will be met by thermal or market purchases
This functionality is to keep the hydro system from emptying out, yet still make it cognizant of storage targets.

## Slide 31: Hourly Modeling of Hydro
Multi-dam versus one-dam
More explicit modeling of physical constraints
Variable efficiency curves ( H/K) on hydro.

## Slide 32
The key improvements we have proposed:
Time-dependent nature of the hourly hydro capability – model cascading of multiple dams as part of the system dispatch
Interaction between assignment of reserves and system capacity – incorporate reserves into an optimized dispatch
Trade-off between decisions for economics and adequacy – improved market representation
Representation of limitations on operators in dispatching the system – add fuel accounting and forecast error

## Slide 33
?